## SourceSinkOptSummary_1dim
Component | Property | Unit | ElectrolyzerLocation | IndustryLocation
Electricity market | NPVcontribution | [1 Euro] | 1520485.7143 | 0
| TAC | [1 Euro/a] | 1520485.7143 | 0
| capacity | [kW$_{el}$]
| capexCap | [1 Euro/a]
| capexIfBuilt | [1 Euro/a]
| commissioning | [kW$_{el}$]
| commodCosts | [1 Euro/a] | 1895914.2857
| commodRevenues | [1 Euro/a] | 375428.5714
| decommissioning | [kW$_{el}$]
| invest | [1 Euro]
| investLifetimeExtension | [1 Euro]
| isBuilt | [-]
| operation | [kW$_{el}$*h] | 75085714.2857
| operation_annual | [kW$_{el}$*h/a] | 75085714.2857
| opexCap | [1 Euro/a]
| opexIfBuilt | [1 Euro/a]
| opexOp | [1 Euro/a] | 0
| revenueLifetimeShorteningResale | [1 Euro]
Industry site | NPVcontribution | [1 Euro] | 0 | 0
| TAC | [1 Euro/a] | 0 | 0
| capacity | [kW$_{H_{2},LHV}$]
| capexCap | [1 Euro/a]
| capexIfBuilt | [1 Euro/a]
| commissioning | [kW$_{H_{2},LHV}$]
| commodCosts | [1 Euro/a] |  | 0
| commodRevenues | [1 Euro/a] |  | 0
| decommissioning | [kW$_{H_{2},LHV}$]
| invest | [1 Euro]
| investLifetimeExtension | [1 Euro]
| isBuilt | [-]
| operation | [kW$_{H_{2},LHV}$*h] |  | 52560000
| operation_annual | [kW$_{H_{2},LHV}$*h/a] |  | 52560000
| opexCap | [1 Euro/a]
| opexIfBuilt | [1 Euro/a]
| opexOp | [1 Euro/a] |  | 0
| revenueLifetimeShorteningResale | [1 Euro]

## SourceSink_TDoptVar_1dim
Variable | Component | Location | 0 | 1 | 2 | 3
operationVariablesOptimum | Electricity market | ElectrolyzerLocation | 18771428.5714 | 37542857.1429 | 0 | 18771428.5714
| Industry site | IndustryLocation | 13140000 | 13140000 | 13140000 | 13140000

## ConversionOptSummary_1dim
Component | Property | Unit | ElectrolyzerLocation | IndustryLocation
Electrolyzers | NPVcontribution | [1 Euro] | 1491681.3317 | 0
| TAC | [1 Euro/a] | 1491681.3317 | 0
| capacity | [kW$_{el}$] | 17142.8571 | 0
| capexCap | [1 Euro/a] | 1277395.6174 | 0
| capexIfBuilt | [1 Euro/a]
| commissioning | [kW$_{el}$] | 17142.8571 | 0
| decommissioning | [kW$_{el}$] | 0 | 0
| invest | [1 Euro] | 8571428.5714 | 0
| investLifetimeExtension | [1 Euro] | 0 | 0
| isBuilt | [-]
| operation | [kW$_{el}$*h] | 75085714.2857 | 0
| operation_annual | [kW$_{el}$*h/a] | 75085714.2857 | 0
| opexCap | [1 Euro/a] | 214285.7143 | 0
| opexIfBuilt | [1 Euro/a]
| opexOp | [1 Euro/a] | 0 | 0
| revenueLifetimeShorteningResale | [1 Euro] | 0 | 0

## Conversion_TDoptVar_1dim
Variable | Component | Location | 0 | 1 | 2 | 3
operationVariablesOptimum | Electrolyzers | ElectrolyzerLocation | 18771428.5714 | 37542857.1429 | 0 | 18771428.5714
|  | IndustryLocation | 0 | 0 | 0 | 0

## Conversion_TIoptVar_1dim
Variable type | Component | ElectrolyzerLocation | IndustryLocation
capacityVariablesOptimum | Electrolyzers | 17142.8571 | 0
commissioningVariablesOptimum | Electrolyzers | 17142.8571 | 0
decommissioningVariablesOptimum | Electrolyzers | 0 | 0

## StorageOptSummary_1dim
Component | Property | Unit | ElectrolyzerLocation | IndustryLocation
Pressure tank | NPVcontribution | [1 Euro] | 871039.1602 | 4.0724e-10
| TAC | [1 Euro/a] | 871039.1602 | 4.0724e-10
| capacity | [kW$_{H_{2},LHV}$*h] | 19611940.2985 | 9.1692e-09
| capexCap | [1 Euro/a] | 871039.1602 | 4.0724e-10
| capexIfBuilt | [1 Euro/a]
| commissioning | [kW$_{H_{2},LHV}$*h] | 19611940.2985 | 9.1692e-09
| decommissioning | [kW$_{H_{2},LHV}$*h] | 0 | 0
| invest | [1 Euro] | 9805970.1493 | 4.5846e-09
| investLifetimeExtension | [1 Euro] | 0 | 0
| isBuilt | [-]
| operationCharge | [kW$_{H_{2},LHV}$*h] | 13140000 | 6.1434e-09
| operationCharge_annual | [kW$_{H_{2},LHV}$*h/a] | 13140000 | 6.1434e-09
| operationDischarge | [kW$_{H_{2},LHV}$*h] | 13140000 | 6.1434e-09
| operationDischarge_annual | [kW$_{H_{2},LHV}$*h/a] | 13140000 | 6.1434e-09
| opexCap | [1 Euro/a] | 0 | 0
| opexCharge | [1 Euro/a] | 0 | 0
| opexDischarge | [1 Euro/a] | 0 | 0
| opexIfBuilt | [1 Euro/a]
| revenueLifetimeShorteningResale | [1 Euro] | 0 | 0

## Storage_TDoptVar_1dim
Variable | Component | Location | 0 | 1 | 2 | 3
chargeOperationVariablesOptimum | Pressure tank | ElectrolyzerLocation | 0 | 13140000 | 0 | 0
|  | IndustryLocation | 0 | 6.1434e-09 | 0 | 0
dischargeOperationVariablesOptimum | Pressure tank | ElectrolyzerLocation | 0 | 0 | 13140000 | 0
|  | IndustryLocation | 0 | 0 | 6.1434e-09 | 6.6468e-25
stateOfChargeOperationVariablesOptimum | Pressure tank | ElectrolyzerLocation | 6471940.2985 | 6471940.2985 | 19611940.2985 | 6471940.2985
|  | IndustryLocation | 3.0258e-09 | 3.0258e-09 | 9.1692e-09 | 3.0258e-09

## Storage_TIoptVar_1dim
Variable type | Component | ElectrolyzerLocation | IndustryLocation
commissioningVariablesOptimum | Pressure tank | 19611940.2985 | 9.1692e-09
decommissioningVariablesOptimum | Pressure tank | 0 | 0
capacityVariablesOptimum | Pressure tank | 19611940.2985 | 9.1692e-09

## TransmissionOptSummary_2dim
Component | Property | Unit | LocationIn | ElectrolyzerLocation | IndustryLocation
Pipelines | NPVcontribution | [1 Euro] | ElectrolyzerLocation | 0 | 44.5297
|  |  | IndustryLocation | 44.5297 | 0
| TAC | [1 Euro/a] | ElectrolyzerLocation | 0 | 44.5297
|  |  | IndustryLocation | 44.5297 | 0
| capacity | [kW$_{H_{2},LHV}$] | ElectrolyzerLocation |  | 6000
|  |  | IndustryLocation | 6000
| capexCap | [1 Euro/a] | ElectrolyzerLocation |  | 44.5297
|  |  | IndustryLocation | 44.5297
| commissioning | [kW$_{H_{2},LHV}$] | ElectrolyzerLocation |  | 6000
|  |  | IndustryLocation | 6000
| decommissioning | [kW$_{H_{2},LHV}$] | ElectrolyzerLocation |  | 0
|  |  | IndustryLocation | 0
| invest | [1 Euro] | ElectrolyzerLocation |  | 531
|  |  | IndustryLocation | 531
| investLifetimeExtension | [1 Euro] | ElectrolyzerLocation |  | 0
|  |  | IndustryLocation | 0
| operation | [kW$_{H_{2},LHV}$*h] | ElectrolyzerLocation |  | 52560000
|  |  | IndustryLocation | 0
| operation_annual | [kW$_{H_{2},LHV}$*h/a] | ElectrolyzerLocation |  | 52560000
|  |  | IndustryLocation | 0
| opexCap | [1 Euro/a] | ElectrolyzerLocation |  | 0
|  |  | IndustryLocation | 0
| opexOp | [1 Euro/a] | ElectrolyzerLocation |  | 0
|  |  | IndustryLocation | 0
| revenueLifetimeShorteningResale | [1 Euro] | ElectrolyzerLocation |  | 0
|  |  | IndustryLocation | 0

## Transmission_TDoptVar_2dim
Variable | Component | LocationIn | LocationOut | 0 | 1 | 2 | 3
operationVariablesOptimum | Pipelines | ElectrolyzerLocation | IndustryLocation | 13140000 | 13140000 | 13140000 | 13140000
|  | IndustryLocation | ElectrolyzerLocation | 0 | 0 | 0 | 0

## Transmission_TIoptVar_2dim
Variable type | Component | Location | ElectrolyzerLocation | IndustryLocation
capacityVariablesOptimum | Pipelines | ElectrolyzerLocation |  | 6000
|  | IndustryLocation | 6000
commissioningVariablesOptimum | Pipelines | ElectrolyzerLocation |  | 6000
|  | IndustryLocation | 6000
decommissioningVariablesOptimum | Pipelines | ElectrolyzerLocation |  | 0
|  | IndustryLocation | 0

## Misc
0
periodsOrder | 0